## Instructions
Please enter data into the sheet specific to each completed test condition. If you are not collecting a column of data or a full sheet/condition, leave them blank. If you need to create a new sheet please follow the format found in other similar sheets. Please update "Tests" sheet to reflect how your data was collect, if applicable. Please also complete sheets in excel file "MCL_VAD_Study_MCLinformation", also found on GitHub.

## Tests
| Name of file | Pump type | Pump speed (rpm) | Pump clamped (YES/NO) | Pulsatility mode (ON/OFF) | Ventilation (ON/OFF) | Baroreflex (ON/OFF) | Metabolic control (ON/OFF) | Acquisition rate (Hz) | Blood volume reduction (for suction)
Patient profiles
| Healthy_adult | NA | NA | NA | NA |  |  |  |  | NA
| Healthy,_7years | NA | NA | NA | NA |  |  |  |  | NA
| CS_stable | NA | NA | NA | NA |  |  |  |  | NA
| CS_critical | NA | NA | NA | NA |  |  |  |  | NA
| HFpEF | NA | NA | NA | NA |  |  |  |  | NA
| HFrEF | NA | NA | NA | NA |  |  |  |  | NA
Dynamic HQcurve (5.5.2.2)
| VADbaselineHF_Fullsupport_HQ_speed1 | HM3 | 4400 | NO | OFF | OFF | OFF | OFF |  | NA
| VADBaselineHF_FullsupportBackflow_FS_HQ_speed1 | HM3 | 4400 | NO | OFF | OFF | OFF | OFF |  | NA
| VADbaselineHF_Fullsupport_HQ_speed2 | HM3 | 5400 | NO | OFF | OFF | OFF | OFF |  | NA
| VADBaselineHF_FullsupportBackflow_FS_HQ_speed2 | HM3 | 5400 | NO | OFF | OFF | OFF | OFF |  | NA
| VADbaselineHF_Fullsupport_HQ_speed3 | HM3 | 6400 | NO | OFF | OFF | OFF | OFF |  | NA
| VADBaselineHF_FullsupportBackflow_FS_HQ_speed3 | HM3 | 6400 | NO | OFF | OFF | OFF | OFF |  | NA
| VADbaselineHF_Partialsupport_HQ_speed1 | HM3 | 4400 | NO | OFF | OFF | OFF | OFF |  | NA
| VADBaselineHF_PartialsupportBackflow_FS_HQ_speed1 | HM3 | 4400 | NO | OFF | OFF | OFF | OFF |  | NA
| VADbaselineHF_Partialsupport_HQ_speed2 | HM3 | 5400 | NO | OFF | OFF | OFF | OFF |  | NA
| VADBaselineHF_PartialsupportBackflow_FS_HQ_speed2 | HM3 | 5400 | NO | OFF | OFF | OFF | OFF |  | NA
| VADbaselineHF_Partialsupport_HQ_speed3 | HM3 | 6400 | NO | OFF | OFF | OFF | OFF |  | NA
| VADBaselineHF_PartialsupportBackflow_FS_HQ_speed3 | HM3 | 6400 | NO | OFF | OFF | OFF | OFF |  | NA
VAD baseline HF (5.5.3)
| VADbaselineHF_clamped | HM3 | 0 | YES | NA |  | OFF | OFF |  | NA
| VADbaselineHF_unclamped | HM3 | 0 | NO | NA |  | OFF | OFF |  | NA
VAD full support (5.5.3)
| VADbaselineHF_Fullsupport_5Lmin | HM3 |  | NO | OFF |  | OFF | OFF |  | NA
| VADbaselineHF_Fullsupport_AVclosed | HM3 |  | NO | OFF |  | OFF | OFF |  | NA
VAD full support with baroreflex (5.5.3)
| VADbaselineHF_Fullsupport_5Lmin_BR | HM3 |  | NO | OFF |  | ON |  |  | NA
| VADbaselineHF_Fullsupport_AVclosed_BR | HM3 |  | NO | OFF |  | ON |  |  | NA
VAD partial support (5.5.3)
| VADbaselineHF_Partialsupport_5Lmin | HM3 |  | NO | OFF |  | OFF | OFF |  | NA
VAD partial support with baroreflex (5.5.3)
| VADbaselineHF_Partialsupport_5Lmin_BR | HM3 |  | NO | OFF |  | ON |  |  | NA
VAD patient exercise (5.5.3)
| VADexercise | HM3 |  | NO | OFF |  | OFF | OFF |  | NA
| VADexercise_BR | HM3 |  | NO | OFF |  | ON |  |  | NA
VAD suction (5.5.4)
| VADbaselineHF_Fullsupport_intermittentsuction | HM3 |  | NO |  |  | OFF | OFF
| VADbaselineHF_Fullsupport_fullsuction | HM3 |  | NO |  |  | OFF | OFF
| VADbaselineHF_Partialsupport_intermittentsuction | HM3 |  | NO |  |  | OFF | OFF
| VADbaselineHF_Partialsupport_fullsuction | HM3 |  | NO |  |  | OFF | OFF
Pulse pressure (5.5.5)
| VADbaselineHF_PulsePressure_clamped | HM3 | 0 | YES | ON | OFF | OFF | OFF |  | NA
| VADbaselineHF_PulsePressure_Nocontratility | HM3 |  | NO | ON | OFF | OFF | OFF |  | NA
| VADbaselineHF_PulsePressure | HM3 |  | NO | ON | OFF | OFF | OFF |  | NA
Note on C1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Pump speed indicated is for HM3. If you used a different pump please indicate the speed tested

## StaticHQcurves
Please report data as average and standard deviation. The speed indicated is for HM3. If you used a different pump please specify the speed tested.
Pump speed 4400 (rpm) | [6 empty] | Pump speed 5400 (rpm) | [6 empty] | Pump speed 6400 (rpm)
Inlet Pressure Raw (V) | Inlet Pressure (mmHg) | Outlet Pressure Raw (V) | Outlet Pressure (m mHg) | Δpressure (mmHg) | Flow Raw (V) | Flow (L/min) | Inlet Pressure Raw (V) | Inlet Pressure (mmHg) | Outlet Pressure Raw (V) | Outlet Pressure (m mHg) | Δpressure (mmHg) | Flow Raw (V) | Flow (L/min) | Inlet Pressure Raw (V) | Inlet Pressure (mmHg) | Outlet Pressure Raw (V) | Outlet Pressure (mmHg) | Δpressure (mmHg) | Flow Raw (V) | Flow (L/min)

## HF Dynamic HQ Curves Speed 1
Please report data as average and standard deviation. The speed indicated is for HM3. If you used a different pump please specify the speed tested.
| Speed: | 4400
Time (s) | HR (bpm) | CO Raw Sensor (V) | CO (L/min) | VAD Flow Raw Sensor (V) | VAD Flow (L/min) | Aortic Pressure Raw Sensor (V) | Aortic Pressure (mmHg) | Pulmonary Artery Pressure Raw Sensor (V) | Pulmonary Artery Pressure (mmHg) | Right Atrial Pressure Raw Sensor (mmHg) | Right Atrial Pressure (mmHg) | VAD Inlet Pressure Raw Sensor (V) | VAD Inlet Pressure (mmHg) | VAD Outlet Pressure Raw Sensor (V) | VAD Outlet Pressure (mmHg) | Left Ventricular Volume Raw Sensor (V) | Left Ventricular Volume (mL) | VAD Speed (RPM) | VAD Power (W)

## HF Dynamic HQ Curves Speed 2
Please report data as average and standard deviation. The speed indicated is for HM3. If you used a different pump please specify the speed tested.
| Speed: | 5400
Time (s) | HR (bpm) | CO Raw Sensor (V) | CO (L/min) | VAD Flow Raw Sensor (V) | VAD Flow (L/min) | Aortic Pressure Raw Sensor (V) | Aortic Pressure (mmHg) | Pulmonary Artery Pressure Raw Sensor (V) | Pulmonary Artery Pressure (mmHg) | Right Atrial Pressure Raw Sensor (mmHg) | Right Atrial Pressure (mmHg) | VAD Inlet Pressure Raw Sensor (V) | VAD Inlet Pressure (mmHg) | VAD Outlet Pressure Raw Sensor (V) | VAD Outlet Pressure (mmHg) | Left Ventricular Volume Raw Sensor (V) | Left Ventricular Volume (mL) | VAD Speed (RPM) | VAD Power (W)

## HF Dynamic HQ Curves Speed 3
Please report data as average and standard deviation. The speed indicated is for HM3. If you used a different pump please specify the speed tested.
| Speed: | 6400
Time (s) | HR (bpm) | CO Raw Sensor (V) | CO (L/min) | VAD Flow Raw Sensor (V) | VAD Flow (L/min) | Aortic Pressure Raw Sensor (V) | Aortic Pressure (mmHg) | Pulmonary Artery Pressure Raw Sensor (V) | Pulmonary Artery Pressure (mmHg) | Right Atrial Pressure Raw Sensor (mmHg) | Right Atrial Pressure (mmHg) | VAD Inlet Pressure Raw Sensor (V) | VAD Inlet Pressure (mmHg) | VAD Outlet Pressure Raw Sensor (V) | VAD Outlet Pressure (mmHg) | Left Ventricular Volume Raw Sensor (V) | Left Ventricular Volume (mL) | VAD Speed (RPM) | VAD Power (W)

## VAD Dyn HQ Curves Speed 1
Please report data as average and standard deviation. The speed indicated is for HM3. If you used a different pump please specify the speed tested.
| Speed: | 4400
Time (s) | HR (bpm) | CO Raw Sensor (V) | CO (L/min) | VAD Flow Raw Sensor (V) | VAD Flow (L/min) | Aortic Pressure Raw Sensor (V) | Aortic Pressure (mmHg) | Pulmonary Artery Pressure Raw Sensor (V) | Pulmonary Artery Pressure (mmHg) | Right Atrial Pressure Raw Sensor (mmHg) | Right Atrial Pressure (mmHg) | VAD Inlet Pressure Raw Sensor (V) | VAD Inlet Pressure (mmHg) | VAD Outlet Pressure Raw Sensor (V) | VAD Outlet Pressure (mmHg) | Left Ventricular Volume Raw Sensor (V) | Left Ventricular Volume (mL) | VAD Speed (RPM) | VAD Power (W)

## VAD Dyn HQ Curves Speed 2
Please report data as average and standard deviation. The speed indicated is for HM3. If you used a different pump please specify the speed tested.
| Speed: | 5400
Time (s) | HR (bpm) | CO Raw Sensor (V) | CO (L/min) | VAD Flow Raw Sensor (V) | VAD Flow (L/min) | Aortic Pressure Raw Sensor (V) | Aortic Pressure (mmHg) | Pulmonary Artery Pressure Raw Sensor (V) | Pulmonary Artery Pressure (mmHg) | Right Atrial Pressure Raw Sensor (mmHg) | Right Atrial Pressure (mmHg) | VAD Inlet Pressure Raw Sensor (V) | VAD Inlet Pressure (mmHg) | VAD Outlet Pressure Raw Sensor (V) | VAD Outlet Pressure (mmHg) | Left Ventricular Volume Raw Sensor (V) | Left Ventricular Volume (mL) | VAD Speed (RPM) | VAD Power (W)

## VAD Dyn HQ Curves Speed 3
Please report data as average and standard deviation. The speed indicated is for HM3. If you used a different pump please specify the speed tested.
| Speed: | 6400
Time (s) | HR (bpm) | CO Raw Sensor (V) | CO (L/min) | VAD Flow Raw Sensor (V) | VAD Flow (L/min) | Aortic Pressure Raw Sensor (V) | Aortic Pressure (mmHg) | Pulmonary Artery Pressure Raw Sensor (V) | Pulmonary Artery Pressure (mmHg) | Right Atrial Pressure Raw Sensor (mmHg) | Right Atrial Pressure (mmHg) | VAD Inlet Pressure Raw Sensor (V) | VAD Inlet Pressure (mmHg) | VAD Outlet Pressure Raw Sensor (V) | VAD Outlet Pressure (mmHg) | Left Ventricular Volume Raw Sensor (V) | Left Ventricular Volume (mL) | VAD Speed (RPM) | VAD Power (W)

## Health Adult, Rest Trial 1
Time (s) | HR (bpm) | CO Raw Sensor (V) | CO (L/min) | Aortic Pressure Raw Sensor (V) | Aortic Pressure (mmHg) | Pulmonary Artery Pressure Raw Sensor (V) | Pulmonary Artery Pressure (mmHg) | Right Atrial Pressure Raw Sensor (mmHg) | Right Atrial Pressure (mmHg) | Left Ventricular Volume Raw Sensor (V) | Left Ventricular Volume (mL)

## Health Adult, Rest Trial 2
Time (s) | HR (bpm) | CO Raw Sensor (V) | CO (L/min) | Aortic Pressure Raw Sensor (V) | Aortic Pressure (mmHg) | Pulmonary Artery Pressure Raw Sensor (V) | Pulmonary Artery Pressure (mmHg) | Right Atrial Pressure Raw Sensor (mmHg) | Right Atrial Pressure (mmHg) | Left Ventricular Volume Raw Sensor (V) | Left Ventricular Volume (mL)

## Health Adult, Rest Trial 3
Time (s) | HR (bpm) | CO Raw Sensor (V) | CO (L/min) | Aortic Pressure Raw Sensor (V) | Aortic Pressure (mmHg) | Pulmonary Artery Pressure Raw Sensor (V) | Pulmonary Artery Pressure (mmHg) | Right Atrial Pressure Raw Sensor (mmHg) | Right Atrial Pressure (mmHg) | Left Ventricular Volume Raw Sensor (V) | Left Ventricular Volume (mL)

## Health 7 yo, rest
Time (s) | HR (bpm) | CO Raw Sensor (V) | CO (L/min) | Aortic Pressure Raw Sensor (V) | Aortic Pressure (mmHg) | Pulmonary Artery Pressure Raw Sensor (V) | Pulmonary Artery Pressure (mmHg) | Right Atrial Pressure Raw Sensor (mmHg) | Right Atrial Pressure (mmHg) | Left Ventricular Volume Raw Sensor (V) | Left Ventricular Volume (mL)

## Cardiogenic Shock Stable
Time (s) | HR (bpm) | CO Raw Sensor (V) | CO (L/min) | Aortic Pressure Raw Sensor (V) | Aortic Pressure (mmHg) | Pulmonary Artery Pressure Raw Sensor (V) | Pulmonary Artery Pressure (mmHg) | Right Atrial Pressure Raw Sensor (mmHg) | Right Atrial Pressure (mmHg) | Left Ventricular Volume Raw Sensor (V) | Left Ventricular Volume (mL)

## Cardiogenic Shock Critical
Time (s) | HR (bpm) | CO Raw Sensor (V) | CO (L/min) | Aortic Pressure Raw Sensor (V) | Aortic Pressure (mmHg) | Pulmonary Artery Pressure Raw Sensor (V) | Pulmonary Artery Pressure (mmHg) | Right Atrial Pressure Raw Sensor (mmHg) | Right Atrial Pressure (mmHg) | Left Ventricular Volume Raw Sensor (V) | Left Ventricular Volume (mL)

## Heart Failure with Preserved EF
Time (s) | HR (bpm) | CO Raw Sensor (V) | CO (L/min) | Aortic Pressure Raw Sensor (V) | Aortic Pressure (mmHg) | Pulmonary Artery Pressure Raw Sensor (V) | Pulmonary Artery Pressure (mmHg) | Right Atrial Pressure Raw Sensor (mmHg) | Right Atrial Pressure (mmHg) | Left Ventricular Volume Raw Sensor (V) | Left Ventricular Volume (mL)

## Heart Failure with Reduced EF
Time (s) | HR (bpm) | CO Raw Sensor (V) | CO (L/min) | Aortic Pressure Raw Sensor (V) | Aortic Pressure (mmHg) | Pulmonary Artery Pressure Raw Sensor (V) | Pulmonary Artery Pressure (mmHg) | Right Atrial Pressure Raw Sensor (mmHg) | Right Atrial Pressure (mmHg) | Left Ventricular Volume Raw Sensor (V) | Left Ventricular Volume (mL)

## VAD Baseline HF
Time (s) | HR (bpm) | CO Raw Sensor (V) | CO (L/min) | VAD Flow Raw Sensor (V) | VAD Flow (L/min) | Aortic Pressure Raw Sensor (V) | Aortic Pressure (mmHg) | Pulmonary Artery Pressure Raw Sensor (V) | Pulmonary Artery Pressure (mmHg) | Right Atrial Pressure Raw Sensor (mmHg) | Right Atrial Pressure (mmHg) | VAD Inlet Pressure Raw Sensor (V) | VAD Inlet Pressure (mmHg) | VAD Outlet Pressure Raw Sensor (V) | VAD Outlet Pressure (mmHg) | Left Ventricular Volume Raw Sensor (V) | Left Ventricular Volume (mL) | VAD Speed (RPM) | VAD Power (W)

## VAD Patient, Exercise
Time (s) | HR (bpm) | CO Raw Sensor (V) | CO (L/min) | VAD Flow Raw Sensor (V) | VAD Flow (L/min) | Aortic Pressure Raw Sensor (V) | Aortic Pressure (mmHg) | Pulmonary Artery Pressure Raw Sensor (V) | Pulmonary Artery Pressure (mmHg) | Right Atrial Pressure Raw Sensor (mmHg) | Right Atrial Pressure (mmHg) | VAD Inlet Pressure Raw Sensor (V) | VAD Inlet Pressure (mmHg) | VAD Outlet Pressure Raw Sensor (V) | VAD Outlet Pressure (mmHg) | Left Ventricular Volume Raw Sensor (V) | Left Ventricular Volume (mL) | VAD Speed (RPM) | VAD Power (W)

## VAD Partial Support
Time (s) | HR (bpm) | CO Raw Sensor (V) | CO (L/min) | VAD Flow Raw Sensor (V) | VAD Flow (L/min) | Aortic Pressure Raw Sensor (V) | Aortic Pressure (mmHg) | Pulmonary Artery Pressure Raw Sensor (V) | Pulmonary Artery Pressure (mmHg) | Right Atrial Pressure Raw Sensor (mmHg) | Right Atrial Pressure (mmHg) | VAD Inlet Pressure Raw Sensor (V) | VAD Inlet Pressure (mmHg) | VAD Outlet Pressure Raw Sensor (V) | VAD Outlet Pressure (mmHg) | Left Ventricular Volume Raw Sensor (V) | Left Ventricular Volume (mL) | VAD Speed (RPM) | VAD Power (W)

## VAD Full Support
Time (s) | HR (bpm) | CO Raw Sensor (V) | CO (L/min) | VAD Flow Raw Sensor (V) | VAD Flow (L/min) | Aortic Pressure Raw Sensor (V) | Aortic Pressure (mmHg) | Pulmonary Artery Pressure Raw Sensor (V) | Pulmonary Artery Pressure (mmHg) | Right Atrial Pressure Raw Sensor (mmHg) | Right Atrial Pressure (mmHg) | VAD Inlet Pressure Raw Sensor (V) | VAD Inlet Pressure (mmHg) | VAD Outlet Pressure Raw Sensor (V) | VAD Outlet Pressure (mmHg) | Left Ventricular Volume Raw Sensor (V) | Left Ventricular Volume (mL) | VAD Speed (RPM) | VAD Power (W)

## VAD_HF_Partsupport_interSuctio
Time (s) | HR (bpm) | CO Raw Sensor (V) | CO (L/min) | VAD Flow Raw Sensor (V) | VAD Flow (L/min) | Aortic Pressure Raw Sensor (V) | Aortic Pressure (mmHg) | Pulmonary Artery Pressure Raw Sensor (V) | Pulmonary Artery Pressure (mmHg) | Right Atrial Pressure Raw Sensor (mmHg) | Right Atrial Pressure (mmHg) | VAD Inlet Pressure Raw Sensor (V) | VAD Inlet Pressure (mmHg) | VAD Outlet Pressure Raw Sensor (V) | VAD Outlet Pressure (mmHg) | Left Ventricular Volume Raw Sensor (V) | Left Ventricular Volume (mL) | VAD Speed (RPM) | VAD Power (W)

## VAD_HF_Partsupp_FullSuction
Time (s) | HR (bpm) | CO Raw Sensor (V) | CO (L/min) | VAD Flow Raw Sensor (V) | VAD Flow (L/min) | Aortic Pressure Raw Sensor (V) | Aortic Pressure (mmHg) | Pulmonary Artery Pressure Raw Sensor (V) | Pulmonary Artery Pressure (mmHg) | Right Atrial Pressure Raw Sensor (mmHg) | Right Atrial Pressure (mmHg) | VAD Inlet Pressure Raw Sensor (V) | VAD Inlet Pressure (mmHg) | VAD Outlet Pressure Raw Sensor (V) | VAD Outlet Pressure (mmHg) | Left Ventricular Volume Raw Sensor (V) | Left Ventricular Volume (mL) | VAD Speed (RPM) | VAD Power (W)

## VAD_HF_Fullsupp_interSuction
Time (s) | HR (bpm) | CO Raw Sensor (V) | CO (L/min) | VAD Flow Raw Sensor (V) | VAD Flow (L/min) | Aortic Pressure Raw Sensor (V) | Aortic Pressure (mmHg) | Pulmonary Artery Pressure Raw Sensor (V) | Pulmonary Artery Pressure (mmHg) | Right Atrial Pressure Raw Sensor (mmHg) | Right Atrial Pressure (mmHg) | VAD Inlet Pressure Raw Sensor (V) | VAD Inlet Pressure (mmHg) | VAD Outlet Pressure Raw Sensor (V) | VAD Outlet Pressure (mmHg) | Left Ventricular Volume Raw Sensor (V) | Left Ventricular Volume (mL) | VAD Speed (RPM) | VAD Power (W)

## VAD_HF_Fullsupp_FullSuction
Time (s) | HR (bpm) | CO Raw Sensor (V) | CO (L/min) | VAD Flow Raw Sensor (V) | VAD Flow (L/min) | Aortic Pressure Raw Sensor (V) | Aortic Pressure (mmHg) | Pulmonary Artery Pressure Raw Sensor (V) | Pulmonary Artery Pressure (mmHg) | Right Atrial Pressure Raw Sensor (mmHg) | Right Atrial Pressure (mmHg) | VAD Inlet Pressure Raw Sensor (V) | VAD Inlet Pressure (mmHg) | VAD Outlet Pressure Raw Sensor (V) | VAD Outlet Pressure (mmHg) | Left Ventricular Volume Raw Sensor (V) | Left Ventricular Volume (mL) | VAD Speed (RPM) | VAD Power (W)

## VADHF_PulsePressure_clamped
Time (s) | HR (bpm) | CO Raw Sensor (V) | CO (L/min) | VAD Flow Raw Sensor (V) | VAD Flow (L/min) | Aortic Pressure Raw Sensor (V) | Aortic Pressure (mmHg) | Pulmonary Artery Pressure Raw Sensor (V) | Pulmonary Artery Pressure (mmHg) | Right Atrial Pressure Raw Sensor (mmHg) | Right Atrial Pressure (mmHg) | VAD Inlet Pressure Raw Sensor (V) | VAD Inlet Pressure (mmHg) | VAD Outlet Pressure Raw Sensor (V) | VAD Outlet Pressure (mmHg) | Left Ventricular Volume Raw Sensor (V) | Left Ventricular Volume (mL) | VAD Speed (RPM) | VAD Power (W)

## VADHF_PulsePressure_NoContracti
Time (s) | HR (bpm) | CO Raw Sensor (V) | CO (L/min) | VAD Flow Raw Sensor (V) | VAD Flow (L/min) | Aortic Pressure Raw Sensor (V) | Aortic Pressure (mmHg) | Pulmonary Artery Pressure Raw Sensor (V) | Pulmonary Artery Pressure (mmHg) | Right Atrial Pressure Raw Sensor (mmHg) | Right Atrial Pressure (mmHg) | VAD Inlet Pressure Raw Sensor (V) | VAD Inlet Pressure (mmHg) | VAD Outlet Pressure Raw Sensor (V) | VAD Outlet Pressure (mmHg) | Left Ventricular Volume Raw Sensor (V) | Left Ventricular Volume (mL) | VAD Speed (RPM) | VAD Power (W)

## VADHF_PulsePressure
Time (s) | HR (bpm) | CO Raw Sensor (V) | CO (L/min) | VAD Flow Raw Sensor (V) | VAD Flow (L/min) | Aortic Pressure Raw Sensor (V) | Aortic Pressure (mmHg) | Pulmonary Artery Pressure Raw Sensor (V) | Pulmonary Artery Pressure (mmHg) | Right Atrial Pressure Raw Sensor (mmHg) | Right Atrial Pressure (mmHg) | VAD Inlet Pressure Raw Sensor (V) | VAD Inlet Pressure (mmHg) | VAD Outlet Pressure Raw Sensor (V) | VAD Outlet Pressure (mmHg) | Left Ventricular Volume Raw Sensor (V) | Left Ventricular Volume (mL) | VAD Speed (RPM) | VAD Power (W)